## Instructions
#VALUE! | Application for Electric Service Electric Load Breakdown
Instructions:
All applicants must provide a completed SFPUC Electric Load Breakdown file by filling out the tab labeled "Electric Load Serivce Point" for each requested Service Point designated as the total load behind the Switchgear. Provide additional files for additional Service Points as needed. Note, only provide data as total Connected Load behind service switchgear. Provide additional files as needed. For "Other" items, include description of item. For Project Type "Upgrade to Existing Service", include all load detail, inclusive of existing and added load. For Transmission projects, fill in the "Transmission Service Request" tab.

## Electric Load Service Point
Connected Load Breakdown Sheet
Project Address/Service Point:
Specify Meter Panel Load Type:
Specify Meter Panel Switchgear Size:
Single-Phase Loads | Quantity | Load Each (kW) | Load Each (HP) | Three-Phase Loads | Quantity | Load Each (kW) | Load Each (HP) | Motor Start Soft? (Y or N) | Locked Rotor Amps | Starting Amps
Lighting | 0 | 0 |  | Refrigeration | 0 | 0
Receptacles | 0 | 0 |  | Air Conditioning (Motors must be in hp) | 0 |  | 0
Electric Water Heater | 0 | 0 |  | Electric Heating | 0 | 0
Commercial Cooking | 0 | 0 |  | Miscellaneous 3 phase Motors (Motors must be in HP) | 0 |  | 0
Refrigeration | 0 | 0 |  | Resistance Welders | 0 | 0
Air Conditioning (Motors must be in HP) | 0 |  | 0 | Arc Welders (Largest Unit) | 0 | 0
Electric Heating | 0 | 0 |  | Elevators (Motors must be in HP) | 0 |  | 0
Miscellaneous Single phase Motors (Motors must be in HP) | 0 |  | 0 | EV Charging Station | 0 | 0
Resistance Welders | 0 | 0 |  | Fire Pump | 0 |  | 0
Arc Welders (Largest Unit) | 0 | 0 |  | Other 1 (kW) Description: | 0 | 0
EV Charging Station | 0 | 0 |  | Other 2 (kW) Description: | 0 | 0
Other 1 (kW) Description: | 0 | 0 |  | Other 3 (kW) Description: | 0 | 0
Other 2 (kW) Description: | 0 | 0 |  | Other 4 (HP) Description: | 0 |  | 0
Other 3 (HP) Description: | 0 |  | 0 | Other 5 (HP) Description: | 0 |  | 0
Other 4 (HP) Description: | 0 |  | 0 | Other 6 (HP) Description: | 0 |  | 0
Single-Phase Loads |  | kW | HP | Three-Phase Loads |  | kW | HP
Total Connected Load (single-phase): |  | 0 | 0 | Total Connected Load (three-phase): |  | 0 | 0

## Transmission Service Request
Transmission Service Request
Customer input required
Transmission Service Customer Information Checklist for Large Load Requests | [5 empty] | Version 2b for data center request, 02/27/2024
General Information
Customer Name
Project Name
| Project Full Address or Coordinates | Street address or coordinates:
|  | City: |  | County:
Contact Person (name, email, phone)
Project Information
| Maximum load in MW and power factor (CAISO Tariff requires all loads connect directly to CAISO controlled grid should maintain a power factor between 0.99 lead and 0.97 lag) |  | MW |  | power factor (Must be between 0.99 lead and 0.97 lag)
Requested Operation Date (dd/mm/yyyy)
| Is Distribution backup service requested? |  | If yes, how many MW? |  |  | MW
| Is construction power requested? |  | If yes, complete the Temporary Power Tab |  |  | MW
| Is interim Distribution power requested? (before Transmission interconnection is ready) |  | If yes, complete the Distribution Tab |  |  | MW
Is single feed or dual feed required?
Type of load? (e.g. data center, office, industrial, commercial, etc)
| Starting kilovolt ampere (kVA) and PF of the largest motor or group of motors |  | kVA |  | power factor
| Does the site have existing service? | No | If yes, please describe:
account number:
Total site square footage
| Is the load dispatchable or capable for load management? |  | If yes, MW can be curtailed:
Is the load interested in participating Demand Response program?
Only applicable if the load is a Data Center
| Rack Space square footage | Not Applicable
| Number of Cabinets |  | Or please provide average connected KVA per square feet for the data center load:
kW per cabinet
Onsite Generation/Microgrid
| Onsite generation? |  | If yes, please describe:
| Net energy zero? |  | If yes, please describe:
| Microgrid? |  | If yes, please describe:
| Backup generation? |  | If yes, please describe:
Other
Responsibility
Obtain Permits
Obtain Land Rights of Way
Construction of Line
Ultimate Ownership of Line
Load Ramp Up Schedule (sample data, please update Table 1, please expand if needed)
Table 1: Load Ramp Up Schedule from Customer
| Month/Year | MW
2030-06-01
2031-06-01
2032-06-01
2033-06-01
2034-06-01
2035-06-01
2036-06-01
2037-06-01
2038-06-01
2045-06-01
2052-06-01
hourly load profile (multiple profiles if seasonal changes to load)
Table 2: Hourly load profile from Customer (MW)
| Month | 0000 | 0100 | 0200 | 0300 | 0400 | 0500 | 0600 | 0700 | 0800 | 0900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500 | 1600 | 1700 | 1800 | 1900 | 2000 | 2100 | 2200 | 2300
| January | 0
February
March
April
May
June
July
August
September
October
November
December
Documents Required for a Complete Application
Pilot Application Form (this data form)
Single Line Diagram (optional, preferred)
Site Map (please mark the location of customer substation)
Site Exclusivity (optional, preferred)
Study Deposit
Comments/Notes

## Hidden Tables (hidden)
Meter Type
House
Commercial
Residential
Voltage
120/208 Volt, 3-wire, 1ϕ
120/240 Volt, 3-wire, 1ϕ
208/120 Volt, 4-wire, 3ϕ
240/120 Volt, 4-wire, 3ϕ
480/277 Volt, 4-wire, 3ϕ
Medium Voltage (typically 12,000 Volts)
Other

## Customer Example (hidden)
Service Point Description Location
| Quantity | Load Each (kVA) | 1-PH Load Total (kVA) | Calculations for Internal Use; Reserve Capacity (kVA)
Lighting |  |  | 0
Receptacles |  |  | 0
Water Heating
Electric Heating |  |  | 0
Commercial Cooking |  |  | 0
Refrigeration
Resistance Welders
Arc Welders (Largest Unit)
EV Charging Station
Other 1 (Describe): Washer | 13 | 1.5
Other 2 (Describe): Dryer | 13 | 5
Other 3 (Describe): Dishwasher | 136 | 1.1
Other 4 (Describe): Kitchen Hood | 136 | 0.3
Other 5 (Describe): Range | 136 | 8 | 1088
Other 6 (Describe): Disposal | 136 | 0.7 | 95.2
Other 7 (Describe): small appliance circuit | 272 | 1.5 | 408
Total (kVA) | X | X | 1591.2
Other 1 Description
Other 2 Description
One Phase Horsepower
(Note: hp will be converted to kVA at 0.746)
| Quantity | Load Each (hp) | 1-PH Load Total (kVA) | Calculations for Internal Use; Reserve Capacity (kVA)
Air Conditioning
Elevators
Fire Pump
Other (Describe)
Total (hp) | X | X
Other Description
| Largest Motor |  | Motors 40hp & above:
Type
Rated hp
Locked-rotor current (amps)
Motor Use
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 [Tasks] There is a task anchored to this comment that cannot be viewed in your client. Comment: @Bellato, Gina L Suggest not sharing this with the engineers. If intention is to reference the "other" options, should place on Intake Form. Ok here for CEG reference but we want to be very clean in what we share internally for review.