## Summary
DRAFT Scenario Summary of SFPUC Water Supply and Demand Worksheet
Showing policy choices made by: | Jane Q. User
Worksheet date: | 2021-01-01
See policy choices made by user at bottom of page
All Values are in Million Gallons per Day (MGD)
Supplies and Demands | Current Actual (FY 2019-20) | 2025 | 2030 | 2035 | 2040 | 2045 | Wholesale Supply Assurance and Retail Allocation
SFPUC Regional Water System Demands
Retail Demand | 65.9 | 75.6 | 76.7 | 79.7 | 83.6 | 0
Wholesale Purchase Projections | 131.8 | 163.82 | 168.06 | 172.23 | 177.24 | 0
Total Demand on Regional Water System | 197.7 | 239.42 | 244.76 | 251.93 | 260.84 | 0
SFPUC Regional Water System Firm Yield (Calculated based on user-selected design drought parameters)
Firm Yield of Regional Water System with Completed WSIP Projects: | 216 | 227 | 227 | 227 | 227 | 0
Alternative Water Supply Program (Additional firm yield from projects) | 0 | 0 | 0 | 0 | 0 | 0
Effect on Firm Yield from Contribution to Tuolumne River Instream Flow Requirements (Bay-Delta WQCP and/or voluntary actions) | 0 | 0 | 0 | 0 | 0 | 0
Regional Water System Firm Yield | 216 | 227 | 227 | 227 | 227 | 0
SFPUC Regional Water System Total Yield
Rationing Policy (rationing depth and sequence) | 28.8 | 30.2667 | 30.2667 | 30.2667 | 30.2667 | #REF!
Regional Water System Total Yield | 244.8 | 257.2667 | 257.2667 | 257.2667 | 257.2667 | 0
Demand, and Policy Revisions that Affect Demand
Retail Allocation | [6 empty] | 81
Current Wholesale Supply Assurance per 2018 Water Supply Agreement | [6 empty] | 184
Updated Wholesale Supply Assurance (Making San Jose and Santa Clara permanent customers and/or meeting additional demands) | [6 empty] | 184
Updated Total Demand on Regional Water System | [6 empty] | 265
Projected Regional Water System Surplus or Deficit
Total Yield minus Total Demand | 47.1 | 17.8467 | 12.5067 | 5.3367 | -3.5733 | 0 | -7.7333
List of choices made by worksheet user: | 2025 | 2030 | 2035 | 2040 |  | Description:
Other Retail Groundwater Supplies: | 0 | 0 | 0 | 0 |  | Addition of other retail groundwater supplies would reduce retail demand on the RWS.
Other Retail Water Supply Projects: | 0 | 0 | 0 | 0 |  | Addition of other retail water supply projects would reduce retail demand on the RWS.
User-selected modifier to adjust Retail demand assumptions: | 0 | 0 | 0 | 0 |  | Modifier would increase or decrease retail demand assumptions, depending on value of modifier.
User-selected modifier to adjust Wholesale purchase projections: | 0 | 0 | 0 | 0 |  | Modifier would increase or decrease retail demand assumptions, depending on value of modifier.
Sum of firm yield from new RWS water supply projects: | 0 | 0 | 0 | 0 |  | New projects would add to the RWS firm yield.
SFPUC contribution to new Tuolumne River instream flow (effect on firm yield): | 0 | 0 | 0 | 0 |  | Increases in SFPUC contribution to stream flow that are applied during the design drought planning sequence will reduce firm yield.
Design drought choices:
Remove second-to-last year: |  |  | Modifying the design drought sequence that is used to calculate firm yield will change the calculated value of firm yield. Similarly, modifying the carry-over storage to be simulated at the end of the design drought will change the calculated firm yield. The design drought currently used by SFPUC is a specific 8.5-year hydrologic sequence for which operations are simulated to achieve zero carry-over storage at the end of the sequence.
Remove last year:
Carry-over storage:
Rationing policy choices:
| Selected Policy: | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Final half year | Values that are calculated automatically within the worksheet assume that the standard 8.5-year design drought is used to calculate firm yield. Changes to rationing policy change the calculation of total system yield. (Firm yield + rationing policy = total system yield)
Adopted WSIP 2018 Variant | x | 0% | 0% | 10% | 10% | 20% | 10% | 20% | 20% | 20%
Alternative rationing sequence
| 2025 | Year 1: 2030; Year 2: 2035; Year 3: 2040
Contribution of selected rationing policy to total yield: | 30.2667 | Year 1: 30.2667; Year 2: 30.2667; Year 3: 30.2667; Year 5: Changes to rationing policy change the calculation of total system yield.
Wholesale Supply Assurance choices:
User-selected additions to Wholesale Supply Assurance: | 0
Resulting total revised Wholesale Supply Assurance: | 184

## Supply and Demand Worksheet
|  |  |  | DRAFT SFPUC Water Supply and Demand Worksheet All Values are in Million Gallons per Day (MGD) |  |  |  |  | Note: Future demand projections are based on 2015 Urban Water Management Plan estimates. These will be updated with 2020 UWMP estimates in spring of 2021.
|  |  | Worksheet User Name: | Jane Q. User
|  |  | Date: | 2021-01-01 |  |  |  | Current Actual (FY 2019-20) | 2025 | 2030 | 2035 | 2040 | 2045 |  | Supply Assurance and Retail Allocation
Retail Water Demand
| Retail Baseline Demand (unadjusted for conservation) | [6 empty] | 80.83 | 94.1 | 99.5 | 104.9 | 110.6 | 0
|  | Retail Passive Conservation | [5 empty] | 9.5 | 12.5 | 14.9 | 17 | 18.9 | 0
|  | Retail Active Conservation | [5 empty] | 3.4 | 2.6 | 2.3 | 2 | 1.8 | 0
|  | In-City Retail Demand | [5 empty] | 65.13 | 74 | 77.3 | 80.9 | 84.9 | 0
|  | Suburban Retail Demand | [5 empty] | 2.8 | 5 | 5 | 5 | 5 | 0
| Total Retail Demand (adjusted for conservation) | [6 empty] | 67.93 | 79 | 82.3 | 85.9 | 89.9 | 0
Retail Groundwater Supplies
| SF Groundwater for potable use (including westside recycled water in GG Park) | [6 empty] | 0.2 | 2 | 4 | 4 | 4 | 0
| Westside Basin Groundwater for In-City Irrigation | [6 empty] | 1.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0
| Castlewood Groundwater | [6 empty] | 0.25 | 0.4 | 0.4 | 0.4 | 0.4 | 0
Other (add project here)
| Total Retail Potable Water Supplies | [6 empty] | 1.95 | 2.7 | 4.7 | 4.7 | 4.7 | 0
Retail Water Projects that Offset Potable Use
| Harding Park Recycled Water | [6 empty] | 0 | 0 | 0.2 | 0.2 | 0.2 | 0
| Sharp Park Recycled Water | [6 empty] | 0.08 | 0.1 | 0.1 | 0.1 | 0.1 | 0
| Onsite Non-Potable Water | [6 empty] | 0 | 0.2 | 0.2 | 0.3 | 0.4 | 0
| Satellite Recycled Water | [6 empty] | 0 | 0 | 0 | 0.5 | 0.5 | 0
| Westside Recycled Water outside of GG Park (Zoo plus medians along Sunset) | [6 empty] | 0 | 0.4 | 0.4 | 0.4 | 0.4 | 0
| San Francisco Purified Water (after 2040) | [7 empty] | 0 | 0 | 0 | 0 | 0
Other (add project here)
| Total Projects that Offset Potable Use | [6 empty] | 0.08 | 0.7 | 0.9 | 1.5 | 1.6 | 0
User-selected modifier to adjust Retail demand assumptions:
Net Retail RWS Water Demand (Total minus Supplies minus Potable Offsets) | [7 empty] | 65.9 | 75.6 | 76.7 | 79.7 | 83.6 | 0
Total Demand Projection - Wholesale Agencies
| Permanent Customers1 | [7 empty] | 228.41 | 235.66 | 241.96 | 247.69
Interruptible Customers2
|  | City of San Jose | [6 empty] | 9.23 | 11.19 | 13.26 | 15.42
|  | City of Santa Clara | [6 empty] | 24.2 | 24.2 | 24.2 | 25
|  | Subtotal Interruptible Customers | [6 empty] | 33.43 | 35.39 | 37.46 | 40.42
| Total Demand Projection - Wholesale Agencies | [7 empty] | 261.84 | 271.05 | 279.42 | 288.11
Groundwater Production
| Permanent Customers1 | [7 empty] | 14.99 | 15 | 15.19 | 15.55
Interruptible Customers2
|  | City of San Jose | [6 empty] | 1.71 | 2.61 | 3.56 | 4.55
|  | City of Santa Clara | [6 empty] | 9.6 | 9.6 | 9.6 | 10.4
|  | Subtotal - Interruptible Customers | [6 empty] | 11.31 | 12.21 | 13.16 | 14.95
| Total Groundwater Production | [7 empty] | 26.3 | 27.21 | 28.35 | 30.5
Surface Water Production (Non SF RWS Sources)
| Permanent Customers1 | [7 empty] | 6.86 | 6.86 | 6.86 | 6.86
Recycled Water
| Permanent Customers1 | [7 empty] | 8.71 | 9.68 | 11.12 | 11.47
Interruptible Customers2
|  | City of San Jose | [6 empty] | 1.2 | 1.38 | 1.57 | 1.76
|  | City of Santa Clara | [6 empty] | 4.6 | 4.6 | 4.6 | 4.6
|  | Subtotal - Interruptible Customers | [6 empty] | 5.8 | 5.98 | 6.17 | 6.36
| Total Purchases from SF RWS | [7 empty] | 14.51 | 15.66 | 17.29 | 17.83
Other Sources
Permanent Customers1
|  | Purchases from Valley Water | [6 empty] | 16.25 | 17.44 | 18.18 | 18.92
|  | Non-potable surface water and groundwater | [6 empty] | 1.25 | 1.3 | 1.35 | 1.4
|  | State Water Project & Desalination | [6 empty] | 23.44 | 24.36 | 24.18 | 24
|  | Purchases from NCCWD | [6 empty] | 0.05 | 0.05 | 0.05 | 0.05
|  | Subtotal - Permanent Customers | [6 empty] | 40.99 | 43.15 | 43.76 | 44.37
Interruptible Customers2
|  | Purchases from Valley Water | [6 empty] | 4.7 | 4.7 | 4.7 | 4.7
|  | Subtotal - Interruptible Customers | [6 empty] | 4.7 | 4.7 | 4.7 | 4.7
| Total Other Sources | [7 empty] | 45.69 | 47.85 | 48.46 | 49.07
Additional Conservation
Permanent Customers1
|  | Additional Conservation | [6 empty] | 3.75 | 4.52 | 5.36 | 5.75
|  | Subtotal - Permanent Customers | [6 empty] | 3.75 | 4.52 | 5.36 | 5.75
Interruptible Customers2
Additional Conservation
|  |  | City of San Jose | [5 empty] | 0.11 | 0.09 | 0.07 | 0.06
|  |  | City of Santa Clara | [5 empty] | 0.8 | 0.8 | 0.8 | 0.8
|  | Subtotal - Interruptible Customers | [6 empty] | 0.91 | 0.89 | 0.87 | 0.86
| Total Additional Conservation | [7 empty] | 4.66 | 5.41 | 6.23 | 6.61
Purchases from the San Francisco Regional Water System
| Permanent Customers1 | [6 empty] | 124.3 | 153.11 | 156.45 | 159.67 | 163.69 |  |  | See below for policy decisions regarding the interruptible service to San Jose and Santa Clara
| Interruptible Customers2 |  |  |  | Select (with an x)
|  | City of San Jose: purchase request up to 4.5 MGD |  |  | x |  |  | 4.2 | 4.5 | 4.5 | 4.5 | 4.5
|  | City of San Jose: purchase request in excess of 4.5 MGD |  |  | x |  |  | 0 | 1.71 | 2.61 | 3.56 | 4.55
|  | City of Santa Clara: purchase request up to 4.5 MGD |  |  | x |  |  | 3.3 | 4.5 | 4.5 | 4.5 | 4.5
|  | City of Santa Clara: purchase request in excess of 4.5 MGD |  |  | x |  |  | 0 | 0 | 0 | 0 | 0
|  | Subtotal - Interruptible Customers | [5 empty] | 7.5 | 10.71 | 11.61 | 12.56 | 13.55
| Total Purchases from SF RWS | [6 empty] | 131.8 | 163.82 | 168.06 | 172.23 | 177.24
User-selected modifier to adjust Wholesale purchase projections:
Wholesale Customer Purchase Projections from RWS | [7 empty] | 131.8 | 163.82 | 168.06 | 172.23 | 177.24 | 0
Total RWS Demand (Retail Demand Projections plus Wholesale Purchase Projections) | [7 empty] | 197.7 | 239.42 | 244.76 | 251.93 | 260.84 | 0
Regional Water System Yield
| Firm Yield pre-WSIP | [6 empty] | 219 | 219 | 219 | 219 | 219 | 0
Year Operation Begins
WSIP Permitting Streamflow Requirements
|  | San Mateo Creek instream flow requirement |  |  | 2015 |  |  | -3 | -3 | -3 | -3 | -3 | 0
|  | Alameda Creek instream flow requirement |  |  | 2019 |  |  | -5 | -5 | -5 | -5 | -5 | 0
|  | Total WSIP Permitting Streamflow Requirements | [5 empty] | -8 | -8 | -8 | -8 | -8 | 0
WSIP Water Supply Projects
|  | Regional GW Storage & Recovery |  |  | 2020 |  |  | 2 | 6 | 6 | 6 | 6 | 0
|  | Calaveras Dam Replacement Project |  |  | 2020 |  |  | 3 | 5 | 5 | 5 | 5 | 0
|  | Alameda Creek Recapture Project |  |  | 2023 |  |  | 0 | 5 | 5 | 5 | 5 | 0
|  | Lower Crystal Springs Dam Improvements |  |  | - |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | MID/TID 2 MGD Water Transfer |  |  | - |  |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Total WSIP Water Supply Projects | [5 empty] | 5 | 16 | 16 | 16 | 16 | 0
| System Firm Yield Including Completed WSIP Projects (calculated for 8.5-year Design Drought) | [6 empty] | 216 | 227 | 227 | 227 | 227 | 0
| Alternative Water Supply Projects |  |  |  | Choose Year that Project Starts Operating | Estimated Effect on Firm Yield | [9 empty] | Nominal Estimates of Water Supply from AWS Projects. These preliminary estimates are provided for information only. They are not presented in terms of firm yield over the SFPUC design drought.
|  | Dry Year Transfers Districts |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Bay Area Brackish Water Desalination |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 5 MGD
|  | Groundwater Banking |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Daly City Recycled Water Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | Up to 1.25 MGD
|  | Inter Basin Collaborations |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | ACWD/USD Purified Water |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 4 to 9 MGD
|  | Crystal Springs Purified Water |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 6 to 12 MGD
|  | Los Vaqueros Reservoir Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Calaveras Reservoir Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Other Potential Water Transfer |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Total Additional Firm Yield from Alternative Water Supply Program | [6 empty] | 0 | 0 | 0 | 0 | 0
| Potential SFPUC Contributions to Tuolumne River Instream Flow Requirements (average over the Design Drought assuming continuation of 1995 side agreement) |  |  |  | Choose Year that Contribution Begins | Choose Year that Contribution Ends | Effect on Firm Yield
|  | Adopted Bay-Delta Plan |  |  | - | - | -93 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tuolumne River Voluntary Agreement (June 23, 2020 SFPUC Resolution)* |  |  | - | - | -15.5 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other proposed SFPUC contribution to Tuolumne Instream Flow |  |  | - | - |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Tuolumne Instream Flow Requirements (calculated for 8.5-year Design Drought) | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Updated Firm Yield (Incorporates alternative water supplies, Tuolumne River contribution, and current design drought policy): | [6 empty] | 216 | 227 | 227 | 227 | 227 | 0
Potential Policy Revisions with Firm Yield Impacts
| Years to Remove from SFPUC Design Drought Sequence |  |  |  | Select (with an x) |  | Note: users that want to evaluate design drought modifications should indicate their preferences in the boxes at the left and return the worksheet to SFPUC staff (email to worksheet@sfwater.org). The firm yield values in the worksheet will be updated to reflect the requested changes to the design drought sequence. SFPUC staff will calculate the effects on firm yield and return the results to the worksheet user.
the second to last year
the last year
Enter a value
| Carry-Over Storage at End of SFPUC Design Drought Sequence |  |  |  |  | Please indicate units | Note: carry over storage provides insurance. User must decide. Zero carry over means storage is depleted completely, which is not a viable operation in a real drought.
Potential Revisions to Rationing Policy, with Effects on Total Yield
[5 empty] | Select with an x. Choose only one. | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Final half year
|  | Adopted rationing sequence for WSIP 2018 Variant |  |  | x | 0% | 0% | 10% | 10% | 20% | 10% | 20% | 20% | 20%
Alternative rationing sequence (between 0% and 20%):
[8 empty] | Current Actual (FY 2019-20) | 2025 | 2030 | 2035 | 2040 | 2045
[5 empty] | Rationing Policy contribution to total yield for adopted WSIP 2018 Variant: |  |  | 28.8 | 30.2667 | 30.2667 | 30.2667 | 30.2667 | 0
Rationing Policy contribution to total yield for user-selected alternative rationing sequence:
Note: The rationing policy contribution to total yield can be calculated for the current 8.5-year design drought using the alternative rationing sequence option above. Users interested in design drought modifications should indicate their rationing policy preferences in the alternative sequence section above and return the worksheet to SFPUC staff (worksheet@sfwater.org). In that case, the contribution to total yield will be calculated by SFPUC staff, and the results will be returned to the worksheet uers. Also note that users that have specified modifications to the design drought period should indicate a rationing policy for the number of years in their modified drought sequence.
Note: The current SFPUC Level of Service Goal is no greater than 20% rationing.
| Summary of Yield Estimates |  |  |  |  | Year 3: Note: These are summary yield estimates for the WSIP 2018 program, potentially modified by choices selected above. Modifications to the design drought sequence and rationing policy are not automatically included, and can be updated by SFPUC staff.
|  |  | Firm Yield |  |  |  |  | 216 | 227 | 227 | 227 | 227 | 0
|  |  | Rationing Policy |  |  |  |  | 28.8 | 30.2667 | 30.2667 | 30.2667 | 30.2667 | 0
|  | Total Yield (Firm Yield plus Rationing Policy) | [5 empty] | 244.8 | 257.2667 | 257.2667 | 257.2667 | 257.2667 | 0
[5 empty] | Select (with an x) | Year 2: Increase in Wholesale Supply Assurance
| Potential Policy Revisions that Affect the Wholesale Supply Assurance |  |  |  |  | Year 6: Wholesale Supply Assurance per Amended and Restated Water Supply Agreement of 2018: |  | 184
|  | Make Interruptibles permanent (4.5 MGD each for San Jose, Santa Clara) |  |  |  | Year 2: 9 |  | 0
|  | Additional Interruptible Request from San Jose, Santa Clara |  |  |  | Year 2: 6.5 |  | 0
|  | Other Potential Demands | [12 empty] | 0 | bar: Year 1; Year 3 to Year 8
|  | Additions above Wholesale Supply Assurance | [12 empty] | 0
|  | Wholesale Supply Assurance plus additions | [12 empty] | 184
| Retail Allocation | [13 empty] | 81
| Retail Allocation plus Wholesale Supply Assurance plus SJ/SC Assurances plus other additions | [13 empty] | 265
|  | Total Yield (Firm Yield plus Rationing Policy) | [5 empty] | 244.8 | 257.2667 | 257.2667 | 257.2667 | 257.2667 | 0 |  | 257.2667
|  | Updated RWS Demand | [5 empty] | 197.7 | 239.42 | 244.76 | 251.93 | 260.84 | 0 |  | 265
Projected Regional Water System Surplus/Deficit (Total Yield minus Updated RWS Demand) | [7 empty] | 47.1 | 17.8467 | 12.5067 | 5.3367 | -3.5733 | 0 |  | -7.7333
Note: comparing 2040 yield to full supply assurance and retail allocation
Notes:
* | All numeric values shown in this table are in units of million gallons per day (MGD).
* | Firm Yield is expressed for the RWS as the average amount of water supply that can be provided during the Design Drought while bringing usable system storage to zero at the end of the design drought.
* | Rationing Policy is expressed as the average amount of rationing applied during the Design Drought.
* | Total Yield is expressed as the sum of firm yield and rationing policy. Total yield is the yield of the system when rationing is not in effect.
* | SFPUC analysis of the effects of climate change on drought planning is ongoing. Results will be incorporated into SFPUC planning when available.
1 | Permanent customers of San Francisco that are included within the 184 MGD Supply Assurance
2 | Interruptible customers that have contract water supplies with San Francisco
Note on I5: Moses, Matt: calculated here using J Table retail deliveries and SFPUC conservation group estimates of conservation
Note on J5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on K5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on L5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on M5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on N5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on I6: Moses, Matt: Estimated 2020 values from 2015 UWMP table 12.
Note on J6: Moses, Matt: 2015 UWMP Table 12, "plumbing code" and "SFPUC Program"
Note on I11: Moses, Matt: Calculated here using J-table deliveries from RWS and measured deliveries from gw and rw projects
Note on J11: Moses, Matt: estimated retail demands for 2025-2040 are consistent with SF 2015 UWMP, table 4-1
Note on J14: Moses, Matt: Values with blue highlights are consistent with SF 2015 UWMP, table 6-7.
Note on J21: Moses, Matt: project is being re-designed. Not expected to be online by 2025.
Note on J23: Moses, Matt: UWMP and water map
Note on J24: Moses, Matt: project specific planning estimate, per Manisha
Note on J25: Moses, Matt: Estimated from SF 2015 UWMP Table 6-7: Westside gw basin for in-city irrigation goes from 1.5 MGD to 0.3 MGD in 2020, meaning that 1.2 MGD of westside gw is converted to potable. The westside recycled water project produces 1.6 MGD. I assumed 1.2 MGD is used to off-set gw use, which leaves 0.4 MGD for other use outside of GG park. Manisha and Sara will confirm Zoo demand
Note on I32: Moses, Matt: 2018-19 Table J-1, row 7 plus row 18
Note on I88: Moses, Matt: SFPUC sales memo FY 2019-20 annual actuals for SJ and SC
Note on I93: Moses, Matt: 2019-20 Table J-1, row 8
Note on P95: Moses, Matt: Wholesale supply assurance

## Supply and Demand DD example 1
|  |  |  | DRAFT SFPUC Water Supply and Demand Worksheet All Values are in Million Gallons per Day (MGD) |  |  |  |  | Note: Future demand projections are based on 2015 Urban Water Management Plan estimates. These will be updated with 2020 UWMP estimates in spring of 2021.
|  |  | Worksheet User Name: | Jane Q. User
|  |  | Date: | 2021-01-01 |  |  |  | Current Actual (FY 2019-20) | 2025 | 2030 | 2035 | 2040 | 2045 |  | Supply Assurance and Retail Allocation
Retail Water Demand
| Retail Baseline Demand (unadjusted for conservation) | [6 empty] | 80.83 | 94.1 | 99.5 | 104.9 | 110.6 | 0
|  | Retail Passive Conservation | [5 empty] | 9.5 | 12.5 | 14.9 | 17 | 18.9 | 0
|  | Retail Active Conservation | [5 empty] | 3.4 | 2.6 | 2.3 | 2 | 1.8 | 0
|  | In-City Retail Demand | [5 empty] | 65.13 | 74 | 77.3 | 80.9 | 84.9 | 0
|  | Suburban Retail Demand | [5 empty] | 2.8 | 5 | 5 | 5 | 5 | 0
| Total Retail Demand (adjusted for conservation) | [6 empty] | 67.93 | 79 | 82.3 | 85.9 | 89.9 | 0
Retail Groundwater Supplies
| SF Groundwater for potable use (including westside recycled water in GG Park) | [6 empty] | 0.2 | 2 | 4 | 4 | 4 | 0
| Westside Basin Groundwater for In-City Irrigation | [6 empty] | 1.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0
| Castlewood Groundwater | [6 empty] | 0.25 | 0.4 | 0.4 | 0.4 | 0.4 | 0
Other (add project here)
| Total Retail Potable Water Supplies | [6 empty] | 1.95 | 2.7 | 4.7 | 4.7 | 4.7 | 0
Retail Water Projects that Offset Potable Use
| Harding Park Recycled Water | [6 empty] | 0 | 0 | 0.2 | 0.2 | 0.2 | 0
| Sharp Park Recycled Water | [6 empty] | 0.08 | 0.1 | 0.1 | 0.1 | 0.1 | 0
| Onsite Non-Potable Water | [6 empty] | 0 | 0.2 | 0.2 | 0.3 | 0.4 | 0
| Satellite Recycled Water | [6 empty] | 0 | 0 | 0 | 0.5 | 0.5 | 0
| Westside Recycled Water outside of GG Park (Zoo plus medians along Sunset) | [6 empty] | 0 | 0.4 | 0.4 | 0.4 | 0.4 | 0
| San Francisco Purified Water (after 2040) | [7 empty] | 0 | 0 | 0 | 0 | 0
Other (add project here)
| Total Projects that Offset Potable Use | [6 empty] | 0.08 | 0.7 | 0.9 | 1.5 | 1.6 | 0
User-selected modifier to adjust Retail demand assumptions:
Net Retail RWS Water Demand (Total minus Supplies minus Potable Offsets) | [7 empty] | 65.9 | 75.6 | 76.7 | 79.7 | 83.6 | 0
Total Demand Projection - Wholesale Agencies
| Permanent Customers1 | [7 empty] | 228.41 | 235.66 | 241.96 | 247.69
Interruptible Customers2
|  | City of San Jose | [6 empty] | 9.23 | 11.19 | 13.26 | 15.42
|  | City of Santa Clara | [6 empty] | 24.2 | 24.2 | 24.2 | 25
|  | Subtotal Interruptible Customers | [6 empty] | 33.43 | 35.39 | 37.46 | 40.42
| Total Demand Projection - Wholesale Agencies | [7 empty] | 261.84 | 271.05 | 279.42 | 288.11
Groundwater Production
| Permanent Customers1 | [7 empty] | 14.99 | 15 | 15.19 | 15.55
Interruptible Customers2
|  | City of San Jose | [6 empty] | 1.71 | 2.61 | 3.56 | 4.55
|  | City of Santa Clara | [6 empty] | 9.6 | 9.6 | 9.6 | 10.4
|  | Subtotal - Interruptible Customers | [6 empty] | 11.31 | 12.21 | 13.16 | 14.95
| Total Groundwater Production | [7 empty] | 26.3 | 27.21 | 28.35 | 30.5
Surface Water Production (Non SF RWS Sources)
| Permanent Customers1 | [7 empty] | 6.86 | 6.86 | 6.86 | 6.86
Recycled Water
| Permanent Customers1 | [7 empty] | 8.71 | 9.68 | 11.12 | 11.47
Interruptible Customers2
|  | City of San Jose | [6 empty] | 1.2 | 1.38 | 1.57 | 1.76
|  | City of Santa Clara | [6 empty] | 4.6 | 4.6 | 4.6 | 4.6
|  | Subtotal - Interruptible Customers | [6 empty] | 5.8 | 5.98 | 6.17 | 6.36
| Total Purchases from SF RWS | [7 empty] | 14.51 | 15.66 | 17.29 | 17.83
Other Sources
Permanent Customers1
|  | Purchases from Valley Water | [6 empty] | 16.25 | 17.44 | 18.18 | 18.92
|  | Non-potable surface water and groundwater | [6 empty] | 1.25 | 1.3 | 1.35 | 1.4
|  | State Water Project & Desalination | [6 empty] | 23.44 | 24.36 | 24.18 | 24
|  | Purchases from NCCWD | [6 empty] | 0.05 | 0.05 | 0.05 | 0.05
|  | Subtotal - Permanent Customers | [6 empty] | 40.99 | 43.15 | 43.76 | 44.37
Interruptible Customers2
|  | Purchases from Valley Water | [6 empty] | 4.7 | 4.7 | 4.7 | 4.7
|  | Subtotal - Interruptible Customers | [6 empty] | 4.7 | 4.7 | 4.7 | 4.7
| Total Other Sources | [7 empty] | 45.69 | 47.85 | 48.46 | 49.07
Additional Conservation
Permanent Customers1
|  | Additional Conservation | [6 empty] | 3.75 | 4.52 | 5.36 | 5.75
|  | Subtotal - Permanent Customers | [6 empty] | 3.75 | 4.52 | 5.36 | 5.75
Interruptible Customers2
Additional Conservation
|  |  | City of San Jose | [5 empty] | 0.11 | 0.09 | 0.07 | 0.06
|  |  | City of Santa Clara | [5 empty] | 0.8 | 0.8 | 0.8 | 0.8
|  | Subtotal - Interruptible Customers | [6 empty] | 0.91 | 0.89 | 0.87 | 0.86
| Total Additional Conservation | [7 empty] | 4.66 | 5.41 | 6.23 | 6.61
Purchases from the San Francisco Regional Water System
| Permanent Customers1 | [6 empty] | 124.3 | 153.11 | 156.45 | 159.67 | 163.69 |  |  | See below for policy decisions regarding the interruptible service to San Jose and Santa Clara
| Interruptible Customers2 |  |  |  | Select (with an x)
|  | City of San Jose: purchase request up to 4.5 MGD |  |  | x |  |  | 4.2 | 4.5 | 4.5 | 4.5 | 4.5
|  | City of San Jose: purchase request in excess of 4.5 MGD |  |  | x |  |  | 0 | 1.71 | 2.61 | 3.56 | 4.55
|  | City of Santa Clara: purchase request up to 4.5 MGD |  |  | x |  |  | 3.3 | 4.5 | 4.5 | 4.5 | 4.5
|  | City of Santa Clara: purchase request in excess of 4.5 MGD |  |  | x |  |  | 0 | 0 | 0 | 0 | 0
|  | Subtotal - Interruptible Customers | [5 empty] | 7.5 | 10.71 | 11.61 | 12.56 | 13.55
| Total Purchases from SF RWS | [6 empty] | 131.8 | 163.82 | 168.06 | 172.23 | 177.24
User-selected modifier to adjust Wholesale purchase projections:
Wholesale Customer Purchase Projections from RWS | [7 empty] | 131.8 | 163.82 | 168.06 | 172.23 | 177.24 | 0
Total RWS Demand (Retail Demand Projections plus Wholesale Purchase Projections) | [7 empty] | 197.7 | 239.42 | 244.76 | 251.93 | 260.84 | 0
Regional Water System Yield
Firm Yield pre-WSIP
Year Operation Begins
WSIP Permitting Streamflow Requirements
|  | San Mateo Creek instream flow requirement |  |  | 2015
|  | Alameda Creek instream flow requirement |  |  | 2019
Total WSIP Permitting Streamflow Requirements
WSIP Water Supply Projects
|  | Regional GW Storage & Recovery |  |  | 2020
|  | Calaveras Dam Replacement Project |  |  | 2020
|  | Alameda Creek Recapture Project |  |  | 2023
|  | Lower Crystal Springs Dam Improvements |  |  | -
|  | MID/TID 2 MGD Water Transfer |  |  | -
Total WSIP Water Supply Projects
| System Firm Yield Including Completed WSIP Projects (calculated for specified 7.5-year Design Drought with 240,000 AF carry-over storage) | [7 empty] | 228 | 228 | 228 | 228 | 0
| Alternative Water Supply Projects |  |  |  | Choose Year that Project Starts Operating | Estimated Effect on Firm Yield | [9 empty] | Nominal Estimates of Water Supply from AWS Projects. These preliminary estimates are provided for information only. They are not presented in terms of firm yield over the SFPUC design drought.
|  | Dry Year Transfers Districts |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Bay Area Brackish Water Desalination |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 5 MGD
|  | Groundwater Banking |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Daly City Recycled Water Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | Up to 1.25 MGD
|  | Inter Basin Collaborations |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | ACWD/USD Purified Water |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 4 to 9 MGD
|  | Crystal Springs Purified Water |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 6 to 12 MGD
|  | Los Vaqueros Reservoir Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Calaveras Reservoir Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Other Potential Water Transfer |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Total Additional Firm Yield from Alternative Water Supply Program | [6 empty] | 0 | 0 | 0 | 0 | 0
| Potential SFPUC Contributions to Tuolumne River Instream Flow Requirements (average over the Design Drought assuming continuation of 1995 side agreement) |  |  |  | Choose Year that Contribution Begins | Choose Year that Contribution Ends | Effect on Firm Yield
|  | Adopted Bay-Delta Plan |  |  | - | - | -93 |  | 0 | 0 | 0 | 0 | 0
|  | Tuolumne River Voluntary Agreement (June 23, 2020 SFPUC Resolution)* |  |  | - | - | -15.5 |  | 0 | 0 | 0 | 0 | 0
|  | Other proposed SFPUC contribution to Tuolumne Instream Flow |  |  | - | - |  |  | 0 | 0 | 0 | 0 | 0
|  | Total Tuolumne Instream Flow Requirements (calculated for 8.5-year Design Drought) | [6 empty] | 0 | 0 | 0 | 0 | 0
| Updated Firm Yield (Incorporates alternative water supplies, Tuolumne River contribution, and specified design drought policy): | [7 empty] | 228 | 228 | 228 | 228 | 0
Potential Policy Revisions with Firm Yield Impacts
| Years to Remove from SFPUC Design Drought Sequence |  |  |  | Select (with an x) |  | Note: users that want to evaluate design drought modifications should indicate their preferences in the boxes at the left and return the worksheet to SFPUC staff (email to worksheet@sfwater.org). The firm yield values in the worksheet will be updated to reflect the requested changes to the design drought sequence. SFPUC staff will calculate the effects on firm yield and return the results to the worksheet user.
the second to last year
|  |  |  | the last year | x
Enter a value
| Carry-Over Storage at End of SFPUC Design Drought Sequence |  |  |  | 240,000 AF | Please indicate units | Note: carry over storage provides insurance. User must decide. Zero carry over means storage is depleted completely, which is not a viable operation in a real drought.
Potential Revisions to Rationing Policy, with Effects on Total Yield
[5 empty] | Select with an x. Choose only one. | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Final half year
|  | Adopted rationing sequence for WSIP 2018 Variant |  |  |  | 0% | 0% | 10% | 10% | 20% | 10% | 20% | 20% | 20%
|  | Alternative rationing sequence (between 0% and 20%): |  |  | x | 0% | 0% | 10% | 10% | 20% | 10% | 20% | NA | 20%
[8 empty] | Current Actual (FY 2019-20) | 2025 | 2030 | 2035 | 2040 | 2045
Rationing Policy contribution to total yield for adopted WSIP 2018 Variant:
|  |  |  | Note: Disregard the automatically calculated values of rationing policy contribution if changes are specified to the design drought sequence. | Rationing Policy contribution to total yield for user-selected alternative rationing sequence: |  |  | 0 | 23.6883 | 23.6883 | 23.6883 | 23.6883 | 0
Note: The rationing policy contribution to total yield can be calculated for the current 8.5-year design drought using the alternative rationing sequence option above. Users interested in design drought modifications should indicate their rationing policy preferences in the alternative sequence section above and return the worksheet to SFPUC staff (worksheet@sfwater.org). In that case, the contribution to total yield will be calculated by SFPUC staff, and the results will be returned to the worksheet uers. Also note that users that have specified modifications to the design drought period should indicate a rationing policy for the number of years in their modified drought sequence.
Note: The current SFPUC Level of Service Goal is no greater than 20% rationing.
| Summary of Yield Estimates |  |  |  |  | Year 3: Note: These are summary yield estimates for the WSIP 2018 program, potentially modified by choices selected above. Modifications to the design drought sequence and rationing policy are not automatically included, and can be updated by SFPUC staff.
|  | Firm Yield |  | (updated to reflect specified design drought) |  |  |  |  | 228 | 228 | 228 | 228 | 0
|  | Rationing Policy |  | (updated to reflect specified design drought) |  |  |  |  | 27 | 27 | 27 | 27 | 0
|  | Total Yield (Firm Yield plus Rationing Policy) | [6 empty] | 255 | 255 | 255 | 255 | 0
[5 empty] | Select (with an x) | Year 2: Increase in Wholesale Supply Assurance
| Potential Policy Revisions that Affect the Wholesale Supply Assurance |  |  |  |  | Year 6: Wholesale Supply Assurance per Amended and Restated Water Supply Agreement of 2018: |  | 184
|  | Make Interruptibles permanent (4.5 MGD each for San Jose, Santa Clara) |  |  |  | Year 2: 9 |  | 0
|  | Additional Interruptible Request from San Jose, Santa Clara |  |  |  | Year 2: 6.5 |  | 0
|  | Other Potential Demands | [12 empty] | 0 | bar: Year 1; Year 3 to Year 8
|  | Additions above Wholesale Supply Assurance | [12 empty] | 0
|  | Wholesale Supply Assurance plus additions | [12 empty] | 184
| Retail Allocation | [13 empty] | 81
| Retail Allocation plus Wholesale Supply Assurance plus SJ/SC Assurances plus other additions | [13 empty] | 265
|  | Total Yield (Firm Yield plus Rationing Policy) | [6 empty] | 255 | 255 | 255 | 255 | 0 |  | 255
|  | Updated RWS Demand | [5 empty] | 197.7 | 239.42 | 244.76 | 251.93 | 260.84 | 0 |  | 265
Projected Regional Water System Surplus/Deficit (Total Yield minus Updated RWS Demand) | [8 empty] | 15.58 | 10.24 | 3.07 | -5.84 | 0 |  | -10
Note: comparing 2040 yield to full supply assurance and retail allocation
Notes:
* | All numeric values shown in this table are in units of million gallons per day (MGD).
* | Firm Yield is expressed for the RWS as the average amount of water supply that can be provided during the Design Drought while bringing usable system storage to zero at the end of the design drought.
* | Rationing Policy is expressed as the average amount of rationing applied during the Design Drought.
* | Total Yield is expressed as the sum of firm yield and rationing policy. Total yield is the yield of the system when rationing is not in effect.
* | SFPUC analysis of the effects of climate change on drought planning is ongoing. Results will be incorporated into SFPUC planning when available.
1 | Permanent customers of San Francisco that are included within the 184 MGD Supply Assurance
2 | Interruptible customers that have contract water supplies with San Francisco
Note on I5: Moses, Matt: calculated here using J Table retail deliveries and SFPUC conservation group estimates of conservation
Note on J5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on K5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on L5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on M5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on N5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on I6: Moses, Matt: Estimated 2020 values from 2015 UWMP table 12.
Note on J6: Moses, Matt: 2015 UWMP Table 12, "plumbing code" and "SFPUC Program"
Note on I11: Moses, Matt: Calculated here using J-table deliveries from RWS and measured deliveries from gw and rw projects
Note on J11: Moses, Matt: estimated retail demands for 2025-2040 are consistent with SF 2015 UWMP, table 4-1
Note on J14: Moses, Matt: Values with blue highlights are consistent with SF 2015 UWMP, table 6-7.
Note on J21: Moses, Matt: project is being re-designed. Not expected to be online by 2025.
Note on J23: Moses, Matt: UWMP and water map
Note on J24: Moses, Matt: project specific planning estimate, per Manisha
Note on J25: Moses, Matt: Estimated from SF 2015 UWMP Table 6-7: Westside gw basin for in-city irrigation goes from 1.5 MGD to 0.3 MGD in 2020, meaning that 1.2 MGD of westside gw is converted to potable. The westside recycled water project produces 1.6 MGD. I assumed 1.2 MGD is used to off-set gw use, which leaves 0.4 MGD for other use outside of GG park. Manisha and Sara will confirm Zoo demand
Note on I32: Moses, Matt: 2018-19 Table J-1, row 7 plus row 18
Note on I88: Moses, Matt: SFPUC sales memo FY 2019-20 annual actuals for SJ and SC
Note on I93: Moses, Matt: 2019-20 Table J-1, row 8
Note on P95: Moses, Matt: Wholesale supply assurance

## Supply and Demand DD example 2
|  |  |  | DRAFT SFPUC Water Supply and Demand Worksheet All Values are in Million Gallons per Day (MGD) |  |  |  |  | Note: Future demand projections are based on 2015 Urban Water Management Plan estimates. These will be updated with 2020 UWMP estimates in spring of 2021.
|  |  | Worksheet User Name: | Jane Q. User
|  |  | Date: | 2021-01-01 |  |  |  | Current Actual (FY 2019-20) | 2025 | 2030 | 2035 | 2040 | 2045 |  | Supply Assurance and Retail Allocation
Retail Water Demand
| Retail Baseline Demand (unadjusted for conservation) | [6 empty] | 80.83 | 94.1 | 99.5 | 104.9 | 110.6 | 0
|  | Retail Passive Conservation | [5 empty] | 9.5 | 12.5 | 14.9 | 17 | 18.9 | 0
|  | Retail Active Conservation | [5 empty] | 3.4 | 2.6 | 2.3 | 2 | 1.8 | 0
|  | In-City Retail Demand | [5 empty] | 65.13 | 74 | 77.3 | 80.9 | 84.9 | 0
|  | Suburban Retail Demand | [5 empty] | 2.8 | 5 | 5 | 5 | 5 | 0
| Total Retail Demand (adjusted for conservation) | [6 empty] | 67.93 | 79 | 82.3 | 85.9 | 89.9 | 0
Retail Groundwater Supplies
| SF Groundwater for potable use (including westside recycled water in GG Park) | [6 empty] | 0.2 | 2 | 4 | 4 | 4 | 0
| Westside Basin Groundwater for In-City Irrigation | [6 empty] | 1.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0
| Castlewood Groundwater | [6 empty] | 0.25 | 0.4 | 0.4 | 0.4 | 0.4 | 0
Other (add project here)
| Total Retail Potable Water Supplies | [6 empty] | 1.95 | 2.7 | 4.7 | 4.7 | 4.7 | 0
Retail Water Projects that Offset Potable Use
| Harding Park Recycled Water | [6 empty] | 0 | 0 | 0.2 | 0.2 | 0.2 | 0
| Sharp Park Recycled Water | [6 empty] | 0.08 | 0.1 | 0.1 | 0.1 | 0.1 | 0
| Onsite Non-Potable Water | [6 empty] | 0 | 0.2 | 0.2 | 0.3 | 0.4 | 0
| Satellite Recycled Water | [6 empty] | 0 | 0 | 0 | 0.5 | 0.5 | 0
| Westside Recycled Water outside of GG Park (Zoo plus medians along Sunset) | [6 empty] | 0 | 0.4 | 0.4 | 0.4 | 0.4 | 0
| San Francisco Purified Water (after 2040) | [7 empty] | 0 | 0 | 0 | 0 | 0
Other (add project here)
| Total Projects that Offset Potable Use | [6 empty] | 0.08 | 0.7 | 0.9 | 1.5 | 1.6 | 0
User-selected modifier to adjust Retail demand assumptions:
Net Retail RWS Water Demand (Total minus Supplies minus Potable Offsets) | [7 empty] | 65.9 | 75.6 | 76.7 | 79.7 | 83.6 | 0
Total Demand Projection - Wholesale Agencies
| Permanent Customers1 | [7 empty] | 228.41 | 235.66 | 241.96 | 247.69
Interruptible Customers2
|  | City of San Jose | [6 empty] | 9.23 | 11.19 | 13.26 | 15.42
|  | City of Santa Clara | [6 empty] | 24.2 | 24.2 | 24.2 | 25
|  | Subtotal Interruptible Customers | [6 empty] | 33.43 | 35.39 | 37.46 | 40.42
| Total Demand Projection - Wholesale Agencies | [7 empty] | 261.84 | 271.05 | 279.42 | 288.11
Groundwater Production
| Permanent Customers1 | [7 empty] | 14.99 | 15 | 15.19 | 15.55
Interruptible Customers2
|  | City of San Jose | [6 empty] | 1.71 | 2.61 | 3.56 | 4.55
|  | City of Santa Clara | [6 empty] | 9.6 | 9.6 | 9.6 | 10.4
|  | Subtotal - Interruptible Customers | [6 empty] | 11.31 | 12.21 | 13.16 | 14.95
| Total Groundwater Production | [7 empty] | 26.3 | 27.21 | 28.35 | 30.5
Surface Water Production (Non SF RWS Sources)
| Permanent Customers1 | [7 empty] | 6.86 | 6.86 | 6.86 | 6.86
Recycled Water
| Permanent Customers1 | [7 empty] | 8.71 | 9.68 | 11.12 | 11.47
Interruptible Customers2
|  | City of San Jose | [6 empty] | 1.2 | 1.38 | 1.57 | 1.76
|  | City of Santa Clara | [6 empty] | 4.6 | 4.6 | 4.6 | 4.6
|  | Subtotal - Interruptible Customers | [6 empty] | 5.8 | 5.98 | 6.17 | 6.36
| Total Purchases from SF RWS | [7 empty] | 14.51 | 15.66 | 17.29 | 17.83
Other Sources
Permanent Customers1
|  | Purchases from Valley Water | [6 empty] | 16.25 | 17.44 | 18.18 | 18.92
|  | Non-potable surface water and groundwater | [6 empty] | 1.25 | 1.3 | 1.35 | 1.4
|  | State Water Project & Desalination | [6 empty] | 23.44 | 24.36 | 24.18 | 24
|  | Purchases from NCCWD | [6 empty] | 0.05 | 0.05 | 0.05 | 0.05
|  | Subtotal - Permanent Customers | [6 empty] | 40.99 | 43.15 | 43.76 | 44.37
Interruptible Customers2
|  | Purchases from Valley Water | [6 empty] | 4.7 | 4.7 | 4.7 | 4.7
|  | Subtotal - Interruptible Customers | [6 empty] | 4.7 | 4.7 | 4.7 | 4.7
| Total Other Sources | [7 empty] | 45.69 | 47.85 | 48.46 | 49.07
Additional Conservation
Permanent Customers1
|  | Additional Conservation | [6 empty] | 3.75 | 4.52 | 5.36 | 5.75
|  | Subtotal - Permanent Customers | [6 empty] | 3.75 | 4.52 | 5.36 | 5.75
Interruptible Customers2
Additional Conservation
|  |  | City of San Jose | [5 empty] | 0.11 | 0.09 | 0.07 | 0.06
|  |  | City of Santa Clara | [5 empty] | 0.8 | 0.8 | 0.8 | 0.8
|  | Subtotal - Interruptible Customers | [6 empty] | 0.91 | 0.89 | 0.87 | 0.86
| Total Additional Conservation | [7 empty] | 4.66 | 5.41 | 6.23 | 6.61
Purchases from the San Francisco Regional Water System
| Permanent Customers1 | [6 empty] | 124.3 | 153.11 | 156.45 | 159.67 | 163.69 |  |  | See below for policy decisions regarding the interruptible service to San Jose and Santa Clara
| Interruptible Customers2 |  |  |  | Select (with an x)
|  | City of San Jose: purchase request up to 4.5 MGD |  |  | x |  |  | 4.2 | 4.5 | 4.5 | 4.5 | 4.5
|  | City of San Jose: purchase request in excess of 4.5 MGD |  |  | x |  |  | 0 | 1.71 | 2.61 | 3.56 | 4.55
|  | City of Santa Clara: purchase request up to 4.5 MGD |  |  | x |  |  | 3.3 | 4.5 | 4.5 | 4.5 | 4.5
|  | City of Santa Clara: purchase request in excess of 4.5 MGD |  |  | x |  |  | 0 | 0 | 0 | 0 | 0
|  | Subtotal - Interruptible Customers | [5 empty] | 7.5 | 10.71 | 11.61 | 12.56 | 13.55
| Total Purchases from SF RWS | [6 empty] | 131.8 | 163.82 | 168.06 | 172.23 | 177.24
User-selected modifier to adjust Wholesale purchase projections:
Wholesale Customer Purchase Projections from RWS | [7 empty] | 131.8 | 163.82 | 168.06 | 172.23 | 177.24 | 0
Total RWS Demand (Retail Demand Projections plus Wholesale Purchase Projections) | [7 empty] | 197.7 | 239.42 | 244.76 | 251.93 | 260.84 | 0
Regional Water System Yield
Firm Yield pre-WSIP
Year Operation Begins
WSIP Permitting Streamflow Requirements
|  | San Mateo Creek instream flow requirement |  |  | 2015
|  | Alameda Creek instream flow requirement |  |  | 2019
Total WSIP Permitting Streamflow Requirements
WSIP Water Supply Projects
|  | Regional GW Storage & Recovery |  |  | 2020
|  | Calaveras Dam Replacement Project |  |  | 2020
|  | Alameda Creek Recapture Project |  |  | 2023
|  | Lower Crystal Springs Dam Improvements |  |  | -
|  | MID/TID 2 MGD Water Transfer |  |  | -
Total WSIP Water Supply Projects
| System Firm Yield Including Completed WSIP Projects (calculated for specified 7.5-year Design Drought with 240,000 AF carry-over storage) | [7 empty] | 258 | 258 | 258 | 258 | 0
| Alternative Water Supply Projects |  |  |  | Choose Year that Project Starts Operating | Estimated Effect on Firm Yield | [9 empty] | Nominal Estimates of Water Supply from AWS Projects. These preliminary estimates are provided for information only. They are not presented in terms of firm yield over the SFPUC design drought.
|  | Dry Year Transfers Districts |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Bay Area Brackish Water Desalination |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 5 MGD
|  | Groundwater Banking |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Daly City Recycled Water Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | Up to 1.25 MGD
|  | Inter Basin Collaborations |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | ACWD/USD Purified Water |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 4 to 9 MGD
|  | Crystal Springs Purified Water |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 6 to 12 MGD
|  | Los Vaqueros Reservoir Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Calaveras Reservoir Expansion |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | No estimate
|  | Other Potential Water Transfer |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Other (add project here) |  |  | - |  |  |  | 0 | 0 | 0 | 0 | 0
|  | Total Additional Firm Yield from Alternative Water Supply Program | [6 empty] | 0 | 0 | 0 | 0 | 0
| Potential SFPUC Contributions to Tuolumne River Instream Flow Requirements (average over the Design Drought assuming continuation of 1995 side agreement) |  |  |  | Choose Year that Contribution Begins | Choose Year that Contribution Ends | Effect on Firm Yield
|  | Adopted Bay-Delta Plan |  |  | - | - | -93 |  | 0 | 0 | 0 | 0 | 0
|  | Tuolumne River Voluntary Agreement (June 23, 2020 SFPUC Resolution)* |  |  | - | - | -15.5 |  | 0 | 0 | 0 | 0 | 0
|  | Other proposed SFPUC contribution to Tuolumne Instream Flow |  |  | - | - |  |  | 0 | 0 | 0 | 0 | 0
|  | Total Tuolumne Instream Flow Requirements (calculated for 8.5-year Design Drought) | [6 empty] | 0 | 0 | 0 | 0 | 0
| Updated Firm Yield (Incorporates alternative water supplies, Tuolumne River contribution, and current design drought policy): | [7 empty] | 258 | 258 | 258 | 258 | 0
Potential Policy Revisions with Firm Yield Impacts
| Years to Remove from SFPUC Design Drought Sequence |  |  |  | Select (with an x) |  | Note: users that want to evaluate design drought modifications should indicate their preferences in the boxes at the left and return the worksheet to SFPUC staff (email to worksheet@sfwater.org). The firm yield values in the worksheet will be updated to reflect the requested changes to the design drought sequence. SFPUC staff will calculate the effects on firm yield and return the results to the worksheet user.
the second to last year
|  |  |  | the last year | x
Enter a value
| Carry-Over Storage at End of SFPUC Design Drought Sequence |  |  |  | 0 AF | Please indicate units | Note: carry over storage provides insurance. User must decide. Zero carry over means storage is depleted completely, which is not a viable operation in a real drought.
Potential Revisions to Rationing Policy, with Effects on Total Yield
[5 empty] | Select with an x. Choose only one. | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Final half year
|  | Adopted rationing sequence for WSIP 2018 Variant |  |  |  | 0% | 0% | 10% | 10% | 20% | 10% | 20% | 20% | 20%
|  | Alternative rationing sequence (between 0% and 20%): |  |  | x | 0% | 0% | 10% | 10% | 20% | 10% | 20% | NA | 20%
[8 empty] | Current Actual (FY 2019-20) | 2025 | 2030 | 2035 | 2040 | 2045
Rationing Policy contribution to total yield for adopted WSIP 2018 Variant:
|  |  |  | Note: Disregard the automatically calculated values of rationing policy contribution if changes are specified to the design drought sequence. | Rationing Policy contribution to total yield for user-selected alternative rationing sequence: |  |  | 0 | 26.8052 | 26.8052 | 26.8052 | 26.8052 | 0
Note: The rationing policy contribution to total yield can be calculated for the current 8.5-year design drought using the alternative rationing sequence option above. Users interested in design drought modifications should indicate their rationing policy preferences in the alternative sequence section above and return the worksheet to SFPUC staff (worksheet@sfwater.org). In that case, the contribution to total yield will be calculated by SFPUC staff, and the results will be returned to the worksheet uers. Also note that users that have specified modifications to the design drought period should indicate a rationing policy for the number of years in their modified drought sequence.
Note: The current SFPUC Level of Service Goal is no greater than 20% rationing.
| Summary of Yield Estimates |  |  |  |  | Year 3: Note: These are summary yield estimates for the WSIP 2018 program, potentially modified by choices selected above. Modifications to the design drought sequence and rationing policy are not automatically included, and can be updated by SFPUC staff.
|  | Firm Yield |  | (updated to reflect specified design drought) |  |  |  |  | 258 | 258 | 258 | 258 | 0
|  | Rationing Policy |  | (updated to reflect specified design drought) |  |  |  |  | 31 | 31 | 31 | 31 | 0
|  | Total Yield (Firm Yield plus Rationing Policy) | [6 empty] | 289 | 289 | 289 | 289 | 0
[5 empty] | Select (with an x) | Year 2: Increase in Wholesale Supply Assurance
| Potential Policy Revisions that Affect the Wholesale Supply Assurance |  |  |  |  | Year 6: Wholesale Supply Assurance per Amended and Restated Water Supply Agreement of 2018: |  | 184
|  | Make Interruptibles permanent (4.5 MGD each for San Jose, Santa Clara) |  |  |  | Year 2: 9 |  | 0
|  | Additional Interruptible Request from San Jose, Santa Clara |  |  |  | Year 2: 6.5 |  | 0
|  | Other Potential Demands | [12 empty] | 0 | bar: Year 1; Year 3 to Year 8
|  | Additions above Wholesale Supply Assurance | [12 empty] | 0
|  | Wholesale Supply Assurance plus additions | [12 empty] | 184
| Retail Allocation | [13 empty] | 81
| Retail Allocation plus Wholesale Supply Assurance plus SJ/SC Assurances plus other additions | [13 empty] | 265
|  | Total Yield (Firm Yield plus Rationing Policy) | [6 empty] | 289 | 289 | 289 | 289 | 0 |  | 289
|  | Updated RWS Demand | [5 empty] | 197.7 | 239.42 | 244.76 | 251.93 | 260.84 | 0 |  | 265
Projected Regional Water System Surplus/Deficit (Total Yield minus Updated RWS Demand) | [8 empty] | 49.58 | 44.24 | 37.07 | 28.16 | 0 |  | 24
Note: comparing 2040 yield to full supply assurance and retail allocation
Notes:
* | All numeric values shown in this table are in units of million gallons per day (MGD).
* | Firm Yield is expressed for the RWS as the average amount of water supply that can be provided during the Design Drought while bringing usable system storage to zero at the end of the design drought.
* | Rationing Policy is expressed as the average amount of rationing applied during the Design Drought.
* | Total Yield is expressed as the sum of firm yield and rationing policy. Total yield is the yield of the system when rationing is not in effect.
* | SFPUC analysis of the effects of climate change on drought planning is ongoing. Results will be incorporated into SFPUC planning when available.
1 | Permanent customers of San Francisco that are included within the 184 MGD Supply Assurance
2 | Interruptible customers that have contract water supplies with San Francisco
Note on I5: Moses, Matt: calculated here using J Table retail deliveries and SFPUC conservation group estimates of conservation
Note on J5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on K5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on L5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on M5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on N5: Moses, Matt: calculated here using UWMP projection of retail demand and SFPUC conservation group estimates of conservation
Note on I6: Moses, Matt: Estimated 2020 values from 2015 UWMP table 12.
Note on J6: Moses, Matt: 2015 UWMP Table 12, "plumbing code" and "SFPUC Program"
Note on I11: Moses, Matt: Calculated here using J-table deliveries from RWS and measured deliveries from gw and rw projects
Note on J11: Moses, Matt: estimated retail demands for 2025-2040 are consistent with SF 2015 UWMP, table 4-1
Note on J14: Moses, Matt: Values with blue highlights are consistent with SF 2015 UWMP, table 6-7.
Note on J21: Moses, Matt: project is being re-designed. Not expected to be online by 2025.
Note on J23: Moses, Matt: UWMP and water map
Note on J24: Moses, Matt: project specific planning estimate, per Manisha
Note on J25: Moses, Matt: Estimated from SF 2015 UWMP Table 6-7: Westside gw basin for in-city irrigation goes from 1.5 MGD to 0.3 MGD in 2020, meaning that 1.2 MGD of westside gw is converted to potable. The westside recycled water project produces 1.6 MGD. I assumed 1.2 MGD is used to off-set gw use, which leaves 0.4 MGD for other use outside of GG park. Manisha and Sara will confirm Zoo demand
Note on I32: Moses, Matt: 2018-19 Table J-1, row 7 plus row 18
Note on I88: Moses, Matt: SFPUC sales memo FY 2019-20 annual actuals for SJ and SC
Note on I93: Moses, Matt: 2019-20 Table J-1, row 8
Note on P95: Moses, Matt: Wholesale supply assurance